## CA Plumbing Code Table A-2
OTAY WATER DISTRICT 2554 Sweetwater Springs Blvd Spring Valley, CA 91978-2004
WATER METER DATA CARD
Property Owner:
Owner's Telephone Number:
Agent/Representative:
Agent's Telephone Number:
Water Meter Address:
Mailing Address (if different from property):
Assessor's Parcel Number
Project Type (Check One) |  | Commercial, New Construction
Commerical, Addition/Renovation
Water Meters Required (enter quantity): |  | Potable |  | Irrigation
PROPERTY FIXTURE COUNTS FOR PUBLIC DEVELOPMENTS
TABLE A-2 - 2010 California Plumbing Code
| Minimum Fixture |  |  |  |  | # Fixtures | # Fixtures | Total
APPLIANCES, APPURTENANCE, OR FIXTURES | Branch Pipe Size | Private | Public | Assembly |  | Added (New) | Remaining (Existing) | Across
Bathtub or Combination Bath/Shower (fill) | 0.5 | 4 | 4 | - | X |  |  | 0
3/4" Bathtub Fill Valve | 0.75 | 10 | 10 | - | X |  |  | 0
Bidet | 0.5 | 1 | - | - | X
Clothes Washer, domestic | 0.5 | 4 | 4 | - | X |  |  | 0
Dental Unit, cuspidor | 0.5 | - | 1 | - | X |  |  | 0
Dishwasher, domestic | 0.5 | 1.5 | 1.5 | - | X |  |  | 0
Drinking Fountain or Water Cooler | 0.5 | 0.5 | 0.5 | 0.75 | X |  |  | 0
Hose Bibb | 0.5 | 2.5 | 2.5 | - | X |  |  | 0
Hose Bibb, each additional | 0.5 | 1 | 1 | - | X |  |  | 0
Lavatory | 0.5 | 1 | 1 | 1 | X |  |  | 0
Lawn Sprinkler, each head |  | 1 | 1 | - | X |  |  | 0
Mobile Home, each (minimum) |  | 12 | - | - | X
Sinks |  | - | - | - | X
Bar (Private) | 0.5 | 1 | - | - | X
Bar (Public) | 0.5 | - | 2 | - | X |  |  | 0
Clinic Faucet | 0.5 | - | 3 | - | X |  |  | 0
Clinic Flushometer Valve with or without faucet | 1 | - | 8 | - | X |  |  | 0
Kitchen, domestic | 0.5 | 1.5 | 1.5 | - | X |  |  | 0
Laundry | 0.5 | 1.5 | 1.5 | - | X |  |  | 0
Service or Mop Basin (Private) | 0.5 | 1.5 | - | - | X
Service or Mop Basin (Public) | 0.5 | - | 3 | - | X |  |  | 0
Washup, each set of faucets | 0.5 | - | 2 | - | X |  |  | 0
Shower per head | 0.5 | 2 | 2 | - | X |  |  | 0
Urinal, 1.0 GPF Flushometer Valve (Private) | 0.75 | 3 | - | 5 | X
Urinal, 1.0 GPF Flushometer Valve (Public) | 0.75 | - | 4 | 5 | X |  |  | 0
Urinal, greater than 1.0 GPF Flushometer Valve (Private) | 0.75 | 4 | - | 6 | X
Urinal, greater than 1.0 GPF Flushometer Valve (Public) | 0.75 | - | 5 | 6 | X |  |  | 0
Urinal, flush tank | 0.5 | 2 | 2 | 3 | X |  |  | 0
Water Fountain, circular spray | 0.75 | - | 4 | - | X |  |  | 0
Water Closet, 1.6 GPF Gravity Tank | 0.5 | 2.5 | 2.5 | 3.5 | X |  |  | 0
Water Closet, 1.6 GPF Flushometer Tank | 0.5 | 2.5 | 2.5 | 3.5 | X |  |  | 0
Water Closet, 1.6 GPF Flushometer Valve | 1 | 5 | 5 | 8 | X |  |  | 0
Water Closet, greater than 1.6 GPF Gravity Tank (Private) | 0.5 | 3 | - | 7 | X
Water Closet, greater than 1.6 GPF Gravity Tank (Public) | 0.5 | - | 5.5 | 7 | X |  |  | 0
Water Closet, greater than 1.6 GPF Flushometer Valve (Private) | 1 | 7 | - | 10 | X
Water Closet, greater than 1.6 GPF Flushometer Valve (Public) | 1 | - | 8 | 10 | X |  |  | 0
Other (specify) |  |  |  |  | X |  |  | 0
Other (specify) |  |  |  |  | X |  |  | 0
Other (specify) |  |  |  |  | X |  |  | 0
Total Fixture Units are used to estimate Demand (GPM) using | [6 empty] | TOTAL FIXTURE UNITS | 0
2010 California Plumbing Code Appendix A Chart A-3 | [5 empty] | 3/4" Water Meter: Total Fixture Units are less than 40
1" Water Meter: Total Fixture Units are greater than 40
I affirm that the information given is correct. The approval given for minimum meter size is based soley on the information provided
Any deviation under construction will require resubmittal of corrected data for determination of adequacy of meter size.
Signature (Owner/Tenant or Agent) | [5 empty] | Date Signed
OWD Code of Ordinances Section 27.02

## CA Plumbing Code Chart A-3
SYSTEM WITH FLUSH TANKS
SYSTEM WITH FLUSH VALVES
3/4" Meter Range for systems with flush tanks
1" Meter Range for systems with flush tanks
OWD Code of Ordinances Section 27.02

## Instructions
Otay Water District
Public Services
Water Meter Data Card
Instructions for the completion and filing of Water Meter Data Card
| Water Meter Address | Fixtures Remaining (Existing Fixtures)
| Often several buildings share one water meter. In this case, | In the "Fixtures Remaining" column, list the number of
| the water meter address may be different than the permit- | fixtures that will remain or that will be relocated during the con-
| ting building address. | struction phase of the project.
| Water Closet Gravity Tank vs. Flushometer Valve | Fixtures Added (New Fixtures)
| Carefully place your fixture count in the correct location for | In the "Fixtures Added" column, list the number of new fix-
| accurate meter sizing. | tures or the number of fixtures being added to an existing
project under the appropriate fixture type. See Figure 1.
| Matrix to Determine Water Meter Size and Water/Sewer | Example A.
Demand
| Complete columns of the matrix by supplying the quan- | Other Water Requirements
| tity and type of fixtures being "Added" and/or "Remaining" | There are some fixtures not listed or items that cannot be
| Note: Relocated are considered "Remaining" since there is no | given a fixture unit value. An example is the gallons per
| change in demand. | minute (GPM) requirements for process water (water that is
used in industrial, manufacturing and commercial facilities
| Fixture Unit Multiplier | for processing purposes.) Process water includes car wash
| Each plumbing fixture is given a fixture unit valve based | facilities, cooling towers, boilers, can wash, autoclaves, photo
| from the 2010 California Plumbing Code. Fixture units are | development equipment and any other non-fixture type
| used for water meter sizing purposes. The unit count for each | water usage application. (Do not include the GPM require-
| fixture is determined by multiplying the number of each fix- | ments for closed systems.)
ture type by the number in the multiplier column.
Sprinkler Heads
| GPM (Gallons Per Minute) | Add all 1/4, 1/2, 3/4, and full irrigation sprinkler heads to
| When any Water Requirement is listed by GPM demand, ALL | determine the total number of full sprinkler heads. For
| fixtures will be converted to GPM for the benefit of meter sizing | example, two 1/4 heads and one 1/2 head will equal one
| Capacity fees will be based on a combination of both fixture | full sprinkler head. Leave blank if separate irrigation meter.
unit count and GPM demand.
GENERAL USE - Applies to business, commercial, industrial, and assembly occupancies other than those defined under "Heavy Use."
HEAVY USE - Applies to toilet facilities in occupancies that place a heavy, but intermittent time-based demand on the water supply
system, such as schools, auditoriums, stadiums, race courses, transportation terminals, theaters, and similar occupancies
where queuing is likely to occur during periods of peak use.
FIGURE 1. Example A of Fixture Matrix Use